## Sheet1
Galil Amplifier | Stage | Item | APS Function | axes | completed | Notes
D3540 | AVS125-BMS |  | Stimulus Pupil | 1
|  | Motor |  |  | X | Brushless servomotor with connectors and 1000-line line driver output encoder. (BMS60-A-D25-E1000H)
|  | Max speed (stage speed) |  |  | X | 1 mm/sec; do we need to translate to motor speed?
D3540 | ATS03005-BMS |  | Stimulus Pupil | 1
|  | Motor |  |  | X | Brushless servomotor with connectors and 1000-line encoder; requires cable (BMS60-A-D25-E1000H/)
|  | Max speed (stage speed) |  |  | X | 1 mm/sec
D3540 | ALAR-100-LP Unlimited Travel |  | Stimulus Pupil | 1
|  | He needs the specs for the actual motor for the stage. |  |  | X | S-180-44-A, s series.pdf
|  | Maximum speed (stage speed) |  |  | X | 5 rpm
D3540 | ANT-50-95L |  | Stimulus DM Switch | 1
|  | What are the motor specs for this stage? |  |  | X | see ANT user manual
|  | Maximum speed (stage speed) |  |  | X | 10 mm/sec
Postponed | ATS100-200-20P-U- BM(S)-FB025-8-9DU- NONE |  | Stimulus Insertion | 1
|  | Motor |  |  | X | Brushless servo motor with 2500-line encoder (BMS60-A-D25-E2500H)
|  | Maximum speed (stage speed) |  |  | X | 20 mm/sec
D4140 | Max343 |  | Stimulus Fiber | 3
|  | What is the feedback for this? |  |  | X | 3 stepper motors DRV001
1 mm/sec
Maximum speed (stage speed)